## Veka Inc Structural
SYSTEM | REPORT # | DATE | TEST SPECIFICATION | RATING | CONFIRGURATION
DH93WW Sloped Sill | F5291.01-501-47 | 2020-03-08 | AAMA/WDMA/CSA 101/I.S.2/A440-08, -11 | LC-PG70 54 x 76- H | 1" dsb, all refo aluminum. Impact hardware (vision tilt latch)
DH93WW Sloped Sill | G2710.01-501-47 | 2020-10-06 | AAMA/WDMA/CSA 101/I.S.2/A440-08, -11 | CW-PG40 56 x 91 | head insert with install screws through insert
DH93WW Sloped Sill | G2710.01-501-47 | 2020-10-06 | AAMA/WDMA/CSA 101/I.S.2/A440-08, -11 | CW-PG45 54 x 76 | head insert with install screws through insert
DH93WW Sloped Sill | G2710.01-501-47 | 2020-10-06 | AAMA/WDMA/CSA 101/I.S.2/A440-08, -11 | CW-PG60 36 x 60 | head insert with install screws through insert
DS93WW | F5292.01-501-47 | 2020-02-09 | AAMA/WDMA/CSA 101/I.S.2/A440-08,-11 | R-PG65 73 X 62 | 1" IG, dsb,MR, top, jamb stiles refo, replace install, impact
DS93WW | G5652.01-501-47 | 2020-11-18 | AAMA/WDMA/CSA 101/I.S.2/A440-08,-11 | CW-PG45 71 x 59 | 1" IG, 1/8" annealed, lock and meeting rail refo steel, replace install, silicone sealant
DS93WW | G5652.01-501-47 | 2020-11-18 | AAMA/WDMA/CSA 101/I.S.2/A440-08,-11 | CW-PG65 71 x 48 | 1" IG, 1/8" annealed, lock and meeting rail refo steel, replace install, silicone sealant
PE9301W | F8719.01-501-47 | 2020-05-10 | AAMA/WDMA/CSA 101/I.S.2/A440-08, 11 | CW-PG80 72 x 72 | 1/4" annealed - silicone backbedding.
PE9303W | F8718.01-501-47 | 2020-05-10 | AAMA/WDMA/CSA 101/I.S.2/A440-08,11 | CW-PG80 72 x 72 | 1" x 3/16 annealed - silicone glazed
SH93WW-sloped | E9473.01-501-47 | 2019-12-09 | AAMA/WDMA/CSA 101/I.S.2/A440-08,-11 | LC-PG45 54 x 84 | New construction install, all aluminum refo. 1/8" glass in sash, 3/16 in fixed
SH93WW-sloped | E9473.01-501-47 | 2019-12-09 | AAMA/WDMA/CSA 101/I.S.2/A440-08,-11 | LC-PG65 54 x 84 | replacement install all aluminum refo. 1/8" glass in sash, 3/16 in fixed
SH93WW-sloped | 1639.01-109-12 | 2022-07-18 | AAMA/WDMA/CSA 101/I.S.2/A440-08,-11 | CW-PG45 56 x 91 | RTSE9346b SO M , RF SE9345 AO M
SH93WW-sloped | 1639.01-109-12 | 2022-07-18 | AAMA/WDMA/CSA 101/I.S.2/A440-08,-11 | LC-PG50 56 x 91 | RTSE9346b SO M , RF SE9345 AO M
SH93WW-sloped | 1639.01-109-12 | 2022-07-18 | AAMA/WDMA/CSA 101/I.S.2/A440-08,-11 | CW-PG45 54 x76 | RTSE9346b SO M , RF SE9345 AO M
SH93WW-sloped | 1639.01-109-12 | 2022-07-18 | AAMA/WDMA/CSA 101/I.S.2/A440-08,-11 | LC-PG65 54 x 76 | RTSE9346b SO M , RF SE9345 AO M
SS93WW | E9468.01-501-47 | 2019-09-15 | AAMA/WDMA/CSA 101/I.S.2/A440-08, -11 | LC-PG50 73 x 62 HS | 1"x 1/8" ann. Silicone glazed . Vertical reinforced